How Ultrasound Imaging Technology is applied in Healthcare

Ultrasound imaging uses sound waves with high frequency of beyond human hearing, to produce pictures of the internal parts of the body.

It is used to help diagnose the causes of pain, swelling and infection in the body’s internal organs. It is also majorly used to examine a baby in a pregnant woman and to observe the brain and hips of infants.

Ultrasound is safe, noninvasive and does not use ionizing radiations. The procedure requires little to no special preparation. The doctor will instruct you on how to prepare, including whether you should refrain from eating or eat beforehand. Whether to leave jewelry at home and mostly you will be required to wear lose, comfortable clothing; mostly a gown

Ultrasound scanners consist of a computer console, video display screen and an attached transducer. The transducer is a small hand-held device. Transducers are of different types and capabilities depending on the type of exams to be done. The transducer sends out inaudible, high frequency sound waves into the body and then waits to collect the returning echoes to transmit them to the computer for display of the information.

The technologist applies a small amount of gel to the area under examination and places the transducer there. The gel is used to promote firm connection between the transducer and surface of the skin by preventing buildup of air pockets in between. This allows sound waves to successfully travel back and forth between the transducer and the area under examination. The ultrasound image is immediately visible on a video monitor.

The image is created by the computer depending on amplitude, frequency and time duration that it takes the ultrasound signal to return to the transducer. However, the amplitude, frequency and time all depend on the type of body tissue.

Working Principle and Operation

Ultrasound is based on the same principles involved in the sonar used by ships operators and fishermen.

When sound waves strike on an object, it is reflected to produce echoes and by measuring the properties and characteristics of these echoes, it is possible to determine how far the object is, its size, shape and consistency to know whether it is solid or liquid filled.

In medicine, ultrasound is used to detect changes in the appearance of organs, tissues and vessels, and to detect abnormal masses like tumors.

The patient will lie on the back, facing up on an exam table that can be tilted or moved. After proper positioning on the examination table, the sonographer will apply water-based gel to the skin surface of the area being studied and the transducer is placed on the body, moving it back and forth over the area of interest until the desired images are captured.

The transducer both sends the sound waves and records the echoing waves. When the transducer is pressed on the skin, it produces and sends small pulses of inaudible, high frequency sound into the body. As the sound waves bounce off internal organs, fluids and tissues, the sensitive receiver in the transducer records changes in the pitch and direction of the sound waves. These signature waves are instantly measured and displayed by a computer which in turn creates a real time picture on the monitor. One or more frames of the moving pictures are typically captured as still images and short video loops of the images may also be saved for interpretation by the radiologist or a trained doctor.

Ultrasound Imaging/Sonography

Ultrasound is a safe, painless imaging technology and procedure.

It uses a small probe called a transducer and gel placed directly on the skin. High frequency sound waves travel from the probe through the gel into the body. The probe collects the sound waves that bounce back and a computer uses those sound waves to create an image. Ultrasound images are taken in real time, they can show the structure and movement of the body’s internal organs. They can also show blood flowing through the blood vessels. Ultrasound imaging is a noninvasive medical test that helps physicians to diagnose and treat medical conditions.

A typical ultrasound technology is the Doppler ultrasound. The Doppler ultrasound is a special ultrasound technique that evaluates movement of materials in the body. It allows the doctor to see and evaluate blood flow through arteries and veins in the body.

Types of the Doppler ultrasound includes

- Color Doppler.

- Power Doppler.

- Spectral Doppler.

The color Doppler uses a computer to convert Doppler measurements into an array of colours to show the speed and direction of blood flow.

The power Doppler is a newer technology that is more sensitive and capable of providing greater details of blood flow especially when blood flow is little or minimal. However, it does not help the radiologist to determine the direction of blood flow.

The spectral Doppler displays blood flow in terms of the distance travelled per unit time. It also converts the blood flow information into a distinctive sound that can be heard with every heartbeat.

Common Uses of Ultrasound Procedure/Technology.

Ultrasound examinations can be used to diagnose a variety of conditions and to assess organ damage following an illness.

It is used by physicians to evaluate symptoms of pain, swelling and an infection.

Doppler ultrasound images help the physician to see and evaluate the following;

- Blockage to blood flow.

- Narrowing of vessels

- Tumors and congenital vascular malformations.

- Reduced or absence of blood flow to various organs such as the genitalia.

- Increased blood flow which may a sign of infection.

The information and knowledge from a Doppler ultrasound can be used by the physician to determine whether the patient is a good candidate for other procedures like angioplasty.

How to Prepare for an Ultrasound Procedure.

Wear a comfortable, loose-fitting clothing, preferably a gown.

You may be required to remove all clothing and jewelry on the area to be examined.

Depending on the type of examination, you may be required not to eat or drink for as many as 12hrs before your appointment.

Ultimately for other examinations, you may be required to drink up to six glasses of water two hours prior to your examination and avoid urinating so that your bladder is full when the scan begins.

Common Uses of Ultrasound Procedures.

- To examine internal body organs such as liver, gall bladder, spleen, pancreas, kidneys, uterus, heart and blood vessels, urinary bladder, brain of infants, thyroid and parathyroid glands, scrotum, eyes, hips of infants, spine of infants and other examinable body parts through ultrasound imaging.

- To guide other procedures like needle biopsies, and biopsy of the breast for breast cancer treatment.

- To diagnose variety of heart conditions.

Limitations of General Ultrasound

- Ultrasound waves are disrupted by air or gas so ultrasound imaging technique is not ideal for air filled bowels or organs obscured by the bowel.

- Ultrasound cannot penetrate bone, but may be used for imaging bone fractures or for infections surrounding a bone.

- Ultrasound waves are attenuated by large masses of tissue so large patients are difficult to image as the waves cannot pass deeper into the body and get reflected back to the transducer for analysis.

Benefits of Ultrasound Technology

- Most ultrasound imaging/scanning procedures are noninvasive.

- Ultrasound is widely available, easy to use and less expensive compared to most other imaging methods.

- Ultrasound imaging is very safe and does not use radiation.

- Ultrasound scanning gives a clear picture of soft tissues that do not show up well on x-ray images.

- Ultrasound is a friendly preferred imaging modality for the diagnosis and monitoring of pregnant women and their unborn babies.

- Ultrasound provide real time imaging, making it a good tool for guiding minimally invasive procedures like needle biopsy and fluid aspiration.

Occasionally, an ultrasound exam may be temporarily uncomfortable but it should not be painful. However, standard diagnostic ultrasound has no known side effects on humans.

Some of the temporarily uncomfortable procedures may include;

- Trans esophageal echocardiogram.

- Trans rectal ultrasound.

- Trans-vaginal ultrasound.